Příloha č. 1 – Technická specifikace k veřejné zakázce „Rozšíření stávající síťové infrastruktury MMB“

| Množ. | P/N | Název |
| --- | --- | --- |
| 1 | C9404R-48U-BNDL-E | Catalyst 9400 Series 4 slot, 1xSup, 1xLC , DNA-E LIC |
| 1 | CON-SNT-C9404R48 | SNTC-8X5XNBD Catalyst 9400 Series 4 slot, Sup, 1xC940 – zadavatel požaduje 3 letou záruku |
| 1 | C9400-NW-E | Cisco Catalyst 9400 Network Essential License |
| 2 | C9400-PWR-BLANK | Cisco Catalyst 9400 Series Power Supply Blank Cover |
| 1 | C9400-S-BLANK | Cisco Catalyst 9400 Series Slot Blank Cover |
| 1 | S9400UK9-1712 | Cisco Catalyst 9400 XE 17.12 UNIVERSAL |
| 2 | C9400-PWR-3200AC | Cisco Catalyst 9400 Series 3200W AC Power Supply |
| 2 | CAB-CEE77-C19-EU | CEE 7/7 to IEC-C19 13ft Europe |
| 1 | CAB-GUIDE-4R | 4-SLOT CHASSIS CABLE MANAGEMENT GUIDES for 9400 |
| 1 | C9400-DNA-E | Cisco Catalyst 9400 DNA Essential Term License |
| 1 | C9400-DNA-E-3Y | Cisco Catalyst 9400 DNA Essential 3 Year License |
| 1 | C9400-LC-24XS | Cisco Catalyst 9400 Series 24-Port 10 Gigabit Ethernet(SFP+) |
| 1 | C9400-SUP-1XL-B | Catalyst 9400 Series SUP1XL BUNDLE PID ONLY-NOT ACTUAL HW |
| 1 | C9400-LC-48P-B1 | Catalyst 9400 1xC9400-LC-48P BUNDLE PID ONLY-NOT ACTUAL HW |
| 1 | C9400-SUP-1XL | Cisco Catalyst 9400 Series Supervisor 1XL Module |
| 1 | C9400-SSD-NONE | No SSD Memory Selected |
| 1 | C9400-LC-48P | Cisco Catalyst 9400 Series 48-Port POE+ 10/100/1000 (RJ-45) |
| 1 | NETWORK-PNP-LIC | Network Plug-n-Play Connect for zero-touch device deployment |
| 24 | SFP-10G-LR= | SFP-10G-LR= -OEM |
| 16 | C1300-48T-4X | Catalyst 1300 48-port GE, 4x10G SFP+ |
| 16 | CON-SW-C130048X | SNTC-NO RMA Catalyst 1300 48-port GE, 4x10G SFP – zadavatel požaduje roční záruku |
| 16 | CAB-ACE | AC Power Cord (Europe), C13, CEE 7, 1.5M |
| 20 | SFP-10G-LR= | SFP-10G-LR= - OEM |
| 12 | SFP-10G-AOC-2M | 10GBASE Active Optical SFP+ Cable, 2M - OEM |
| 120 |  | Implementace řešení dle požadavků zadavatele |